## Cell Count PT March 24
Cell Count Controlmilk samples (PT testing) - interlaboratory study March 2024
(1) delivery |  | Date/time
(2) investigation |  | Date
(3) instrument |  | 1. Instrument/type | [11 empty] | Cell Count |  |  | Cell Count |  |  | Cell Count
(4) results |  | somatic cell count controlmilk - samples | [11 empty] | Goat Milk low |  |  | Goat Milk high |  |  | Goat Milk extra high
[14 empty] | March 24 |  |  | March 24 |  |  | 2024-02-01
|  | Milk I "low" |  |  |  | Milk II "high" |  |  |  | Milk III "extra-high" |  |  |  | Special "Goat milk" samples
Instr./Type
|  | Instr.I | Instr.II | Instr.III | Instr.IV | Instr.I | Instr.II | Instr.III | Instr.IV | Instr.I | Instr.II | Instr.III | Instr.IV | Instr.I | Instr.II | Instr.III | Instr.I | Instr.II | Instr.III | Instr.I | Instr.II | Instr.III
Slope
Intercept
1
2
3
4
5
6
7
8
9
10
Mean
ML, SD,
MLCv, VK%
Notice: The sheets for the result form are available at www.mih-huefner
laboratory
Milk-/Dairy Institute Dr. Hüfner
Bahnhofstr. 1
88145 Hergatz
Telefon : 07522/20955
FAX : 07522/22323
e-Mail : info@mih-huefner.de
Handling of the Cell Count samples:
 if possible, measure the Cell Count samples in week 42 . á 5-10 measurements.
 you can measure the samples after arriving , especially the Goat Milk samples. The samples should be well cooled ( Otherwise you should store the samples in the freezer at - 20°C until - 30°C.
 Take care, that the samples are completely thawed in front of measuring. Higher (> 20°C) temperature are to avoid.
Handling of the Cell Count samples:
 if possible, measure the Cell Count samples in week 42 . á 5-10 measurements.
 you can measure the samples after arriving , especially the Goat Milk samples. The samples should be well cooled ( 2°𝐶). Otherwise you should store the samples in the freezer at - 20°C until - 30°C.
 Take care, that the samples are completely thawed in front of measuring. Higher (> 20°C) temperature are to avoid.

## BSC-FC-engl.
PT testing - BSC - FC (IBC-impulses)
(March 24)
(1) Delivery |  | Date/time
Temperature
(2) Chemicals |  | Staining solution : |  |  |  | Enzym :
BCS-Standard :
(3) Calibration |  |  |  | reference value | measuring | %
Standard Count Average (BCS)
Signal Mean Average
(4) adjustments |  | LED-setpoint : |  | Noise-level :
|  | Signal-width : |  | PMT-level : |  | Controlmilk
(5) Results |  | MS A-old | MS B-old | MS A-new | MS B-new | CM I-March 24 | CM II-March 24
1
2
3
4
5
6
7
8
9
10
Mean
SD (standard deviation)
SDrel.% (coefficient of variation *)
Please send also a PHA-picture of BCS- and Milkstandard
Mean |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
STDAV |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
STDAV/Mean*100 (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Milk-/Dairy Institute Dr.Hüfner
Milk Standard Service
Bahnhofstr. 1
88145 Hergatz
Telefon : 07522/20955 - 08385/921696
FAX : 07522/22323 - 08385/922475
e-Mail : info@mih-huefner.de
Laboratory:
Remarks:

## BC-IBC
PT Testing - Total count - BC / IBC
(March- MS 03 - 2024)
(1) Delivery |  | Date/time
Temperature
(2) Chemicals |  | Stain-Microsph : |  | Enzyme :
|  | IBC Standard |  |  |  | Controlmilk
(5) Results |  | MS A-old | MS B-old | MS A-new | MS B-new | CM I-Oct.23 | CM II-Oct.23
1
2
3
4
5
6
7
8
9
10
Mean
SD (standard deviation)
SDrel.% (coefficient of variation *)
*) SDrel.% = SD/mean*100
Mean |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
STDAV |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
STDAV/Mean*100 (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Milk Dairy/Institute Dr.Hüfner
Milk Standard Service
Bahnhofstr. 1
88145 Hergatz
Telefon : 07522/20955 - 08385/921696
FAX : 07522/22323 - 08385/922475
e-Mail : info@mih-huefner.de
Laboratory:
Remarks:

## BSC-FC-engl. (2)
PT testing - BSC - FC (impulses)
(October 2021)
(1) Delivery |  | Date/time
Temperature
(2) Chemicals |  | Staining solution : |  | Enzym :
BCS-Standard :
(3) Calibration |  |  |  | reference value | measuring | %
Standard Count Average (BCS)
Signal Mean Average
(4) adjustments |  | LED-setpoint : |  | Noise-level :
|  | Signal-width : |  | PMT-level :
(5) Results |  |  |  | MS A-new | MS B-new | Controlmilk I | Controlmilk II
1
2
3
4
5
6
7
8
9
10
Mean
SD (standard deviation)
SDrel.% (coefficient of variation *)
Please send also a PHA-picture of BCS- and Milkstandard
Mean |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
STDAV |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
STDAV/Mean*100 (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Labor Dr. Hüfner GmbH
Milk Standard Service
Bahnhofstr. 1
88145 Hergatz
Telefon : 07522/20955 - 08385/921696
FAX : 07522/22323 - 08385/922475
e-Mail : milkstandard@mih-huefner.de
info@mih-huefner.de
Laboratory:
Remarks: